LOYALIST COLLEGE HOT WORK PERMIT & CHECKLIST

PART 1:  HAZARD ASSESSMENT CHECKLIST

| DATE: |  |
| --- | --- |
| CHECKLIST COMPLETED BY: |  |
| DESCRIPTION OF WORK TO BE PERFORMED – PROVIDE SPECIFIC LOCATION, BUILDING & ROOM # |  |
| SAFETY CHECKLIST |  |
| Check with Facilities Management Electrical for possible detectors that could be activated | [ ] Yes [ ] No [ ] N/A |
| Fire extinguisher available and in good working order | [ ] Yes [ ] No [ ] N/A |
| Available sprinklers and hose streams are in good working order | [ ] Yes [ ] No [ ] N/A |
| Equipment inspected and in good repair | [ ] Yes [ ] No [ ] N/A |
| Have operators been trained in procedures for hot work | [ ] Yes [ ] No [ ] N/A |
| At least TWO personnel present for duration of hot work | [ ] Yes [ ] No [ ] N/A |
| Has the process for disabling fire alarm been followed | [ ] Yes [ ] No [ ] N/A |
| REQUIREMENTS WITHIN 35 FT (11 m) RADIUS OF WORK SITE |  |
| Flammable liquids, oily deposits, dust, lint and combustibles removed | [ ] Yes [ ] No [ ] N/A |
| Explosive atmosphere in area eliminated | [ ] Yes [ ] No [ ] N/A |
| Floor swept and kept clean | [ ] Yes [ ] No [ ] N/A |
| Combustible floors covered with fire resistant material | [ ] Yes [ ] No [ ] N/A |
| Remove other combustibles where possible. Combustibles moved away from opposite side of wall/ceiling. Otherwise protect with fire resistant material or metal shield. | [ ] Yes [ ] No [ ] N/A |
| Blocked off cracks between floorboards, baseboards, walls and under door openings with fire resistant material | [ ] Yes [ ] No [ ] N/A |
| Closed doors & windows | [ ] Yes [ ] No [ ] N/A |
| WORK ON WALLS OR CEILINGS |  |
| Construction is non-combustible and without combustible covering or insulation | [ ] Yes [ ] No [ ] N/A |
| Combustibles on other side of walls moved away | [ ] Yes [ ] No [ ] N/A |
| WORK ON ENCLOSED EQUIPMENT |  |
| Is Confined Space Entry Permit required | [ ] Yes [ ] No [ ] N/A |
| Enclosed equipment cleaned of all combustibles | [ ] Yes [ ] No [ ] N/A |
| Containers purged of flammable liquids/vapours | [ ] Yes [ ] No [ ] N/A |
| Pressurized vessels, piping and equipment removed from service, isolated & vented | [ ] Yes [ ] No [ ] N/A |
| FIRE WATCH |  |
| Fire watch to be provided during hot work and every 30 minutes thereafter for 3 hours, including coffee and lunch breaks | [ ] Yes [ ] No [ ] N/A |
| Fire watch required for adjoining areas, above and/or below? If YES, please specify: | [ ] Yes [ ] No [ ] N/A |
| OTHER HAZARDS / PRECAUTIONS TAKEN |  |

LOYALIST COLLEGE HOT WORK PERMIT

PART 2:  PERMIT

This Hot Work Permit is required for any temporary operation involving open flames or producing heat and/or sparks.  This includes but is not limited to:   brazing, cutting, grinding, soldering, thawing pipe, torch applied roofing, and welding.

DISPLAY THIS PERMIT PROMINENTLY AT THE WORK SITE

This permit will authorize 				     	    of

(Name)				                       (Company)

To perform:

(Describe activity)

Starting date:  						           End Date:

Building or Area:

Type of Hot Work:

SAFETY PRECAUTIONS

[    ]  Fire Safety / Facilities notified

[    ]  Fire extinguisher present

[    ]  Vessels, piping and equipment removed from service and purged or n/a

[    ]  Additional Safety Checklist on reverse side completed and understood

IN CASE OF FIRE CALL 911

CAMPUS SECURITY EMERGENCY CALL 2222

| Permit issued by (signature): |  |
| --- | --- |
| Employee performing work (signature): |  |
| Designated Fire Watch (signature) – at completion of fire watch, 3 hrs | Time completed: |
| Comments: |  |